30-Minute Blood Glucose Forecasting for Type 1 Diabetes

Complete explanation: importance, contribution, data, models, results, metrics and the website — Group 19, PCCoE (AIML)

Research demonstration only. Not a medical device; not for diagnosis or insulin dosing; does not replace a CGM. All numbers come from the project's result files.

# 1. Why this project matters

| The problem | People with Type 1 diabetes must keep glucose in a safe range (about 70–180 mg/dL) all day. A CGM sensor shows only the value now. Knowing it 30 minutes ahead gives time to act (eat, wait before more insulin). |
| --- | --- |
| The real gap | Many glucose-prediction models look good because they are tested on the same people they learned from. That does not tell you how they work for a new person or on another dataset. |
| Our core question | How well does a glucose forecast work for someone the model has never seen — and does it still work on a different population, sensor and country? |
| Why it is important | A real app is used by new people, with different sensors. Measuring this honestly (and finding where it fails) is what makes a model trustworthy. |

# 2. IMPORTANT: correct the FA1 presentation before showing it

The FA1 slides describe the plan. The implemented project differs in these places. Presenting the old claims would be contradicted by the code and results, so update the slides:

| Slide says (plan) | Project actually did | What to say now |
| --- | --- | --- |
| Title/problem: non-invasive prediction from wearable sensors, sweat biomarkers, explainable ML | Forecasts glucose 30 min ahead from past CGM glucose + insulin + meals. No sweat data, no non-invasive estimation, no explainability (SHAP etc.), wearable signals not used | "30-minute blood glucose forecasting with subject-independent and cross-dataset evaluation" |
| Models: SVM, Random Forest, XGBoost | 6 models: Persistence, Ridge, Random Forest, MLP, LightGBM, Stacking. No SVM, no XGBoost | LightGBM is the gradient-boosting model; XGBoost was only planned |
| Personalization at 1, 3, 7, 14 days | Levels 0, 5, 10, 20, 30, 50 % of a patient's data (≈ 2.4, 4.8, 9.6, 14.4, 24 days) | Give the % levels and their day equivalents |
| Data split 8 train / 2 personalization / 2 held out | Leave-one-subject-out on all 12 (12 rounds, every patient tested once); personalization on all 12 | Stronger than the plan — every patient is an unseen test patient once |
| Heart rate, skin temperature, EDA, activity used | Only glucose, bolus and carbs; heart rate intended but not mapped (always missing) | State it as a limitation (§9) |
| Insulin: basal + bolus | Bolus only | Basal not used |
| ~166,000 aligned records | 169,221 feature rows; 167,376 evaluated rows | Use the exact numbers |
| HUPA-UCM: all 25 patients, 108k–150k records | 19 (MAIN) / 23 (ALL) patients; 99,855 / 105,423 evaluated points | 2 patients have no CGM, 4 miss insulin/meals (§4) |
| Gaps: "no subject-independent evaluation", "every OhioT1DM paper evaluates only on OhioT1DM" | Too absolute — some recent papers do use leave-one-patient-out on OhioT1DM | Say "many studies …" and "few studies …" |

# 3. Our contribution compared with existing research

Based on the literature in the FA1 survey. Honest framing: our value is rigour and honest evaluation, not a new model or record accuracy.

| What existing work typically does | What we did | Why it is a contribution |
| --- | --- | --- |
| Many OhioT1DM studies train and test on the same patients (later data of the same person) | Leave-one-subject-out: train on 11, test on an unseen 12th, for all 12 patients | Measures accuracy for a new user, the real use case |
| Gaps often filled by interpolation, which uses future readings | Strict causal pipeline: forward-fill only; we found and removed a leak in our own first version; tests prove future data cannot change a prediction | No hidden future information — results are honest |
| Personalization shown with deep models (LSTM, meta-learning: Shen & Kleinberg 2025, Zheng et al. 2025) | A measured personalization curve for tree/linear models: how much own data (0–50 %) is needed and how much it helps | Practical answer: small, consistent gain after ~10 days |
| Most work evaluates only on OhioT1DM | Zero-retraining transfer to HUPA-UCM (Spain, FreeStyle Libre) and a decomposition of why accuracy drops | Shows what transfers, and quantifies the sensor-sampling effect |
| Average metrics only | Accuracy by glucose range, low-glucose alert test, statistical tests per patient | Exposes where the model is weak (below 70 mg/dL) |
| Research code only | A tested backend that gives bit-identical predictions to the research code (256 tests) | Reproducible, demonstrable system |

Accuracy context (not a ranking): published 30-minute RMSE values on OhioT1DM are often around 17–21 mg/dL, usually measured on patients the model already trained on. We get 20.33 mg/dL on patients the model never saw, a harder test. Different protocols mean the numbers are not directly comparable.

# 4. The datasets: shape, features available, used and left

|  | OhioT1DM | HUPA-UCM |
| --- | --- | --- |
| Role | Training + Objectives 1 and 2 | External test only (Objective 3) — never trained on |
| People / duration | 12 T1D patients, ~8 weeks each; 2018 cohort (559, 563, 570, 575, 588, 591) and 2020 cohort (540, 544, 552, 567, 584, 596) | 25 T1D patients, Spain, ≥ 14 days each |
| Raw format | 24 XML files (training + testing per patient); 18 signal types (2020 files: 19) | Raw FreeStyle Libre export + 'Preprocessed' CSV with 8 columns: time, glucose, calories, heart_rate, steps, basal_rate, bolus_volume_delivered, carb_input |
| Glucose sampling | every 5 min (CGM) | every ~15 min (Libre historic readings) |
| Shape after processing | 169,221 rows × 47 features + 1 target; 167,376 rows evaluated in LOSO | MAIN 99,855 evaluated points (19 patients); ALL 105,423 (23) |

## Which signals we used and why we left the rest

| Signal | Used? | Reason |
| --- | --- | --- |
| CGM glucose | Yes (both) | The main input and the prediction target |
| Bolus insulin | Yes (both) | Insulin lowers glucose in the next hours |
| Meal carbohydrates | Yes (both) | Carbs raise glucose in the next hours; HUPA carb_input × 10 (servings → grams) |
| Heart rate | Intended, not effective | Parser looked for 'heart_rate', OhioT1DM uses 'basis_heart_rate' (2018 cohort only) → always missing |
| Basal insulin, temp basal | No | Not in the chosen design (bolus-driven model); future work |
| Skin temp, GSR/EDA, air temp, steps, acceleration, sleep | No | Only in part of the cohort or on different devices; the model must use the same inputs on both datasets and in uploads |
| Exercise, work, stress, illness, hypo events, finger-sticks | No | Self-reported or irregular; finger-sticks are a different measurement |
| HUPA Preprocessed glucose | Deliberately excluded | It is interpolated: 17.8 % of values can only be reproduced using a LATER reading → future leak. We used raw Libre glucose instead |
| HUPA calories, steps, heart_rate, basal_rate | No | The OhioT1DM-trained model never had these inputs |

## Excluded patients (HUPA-UCM) and cleaning rules — fixed before seeing results

- HUPA0009P, HUPA0010P: no raw CGM readings → excluded completely.

- HUPA0011P, 0015P, 0018P, 0020P: missing insulin or meal records → excluded from MAIN (19), included in ALL (23). Both reported; ranking unchanged.

- Glucose clipped to 40–400 mg/dL; bolus ≤ 0 = invalid record (no event); only data inside each patient's study window.

# 5. How the data becomes model input (pipeline)

| Grid | One row every 5 minutes. Glucose at t = latest reading at most 5 min old; short gaps forward-filled ≤ 30 min (never interpolated); insulin and carbs summed per 5-min slot. |
| --- | --- |
| 47 features | Current glucose, bolus, carbs, heart rate (empty) · insulin activity (decaying sum of past boluses) · trend (diff1, diff2) · 30-min mean and SD · time of day (sin, cos) · 12 lags (5–60 min) of glucose, trend and insulin activity. All look only backwards. |
| Target | Real glucose 30 minutes later (6 steps). Hidden from the model; used only to score predictions. |
| Preprocessing | Missing values → mean of training patients; standard scaling fitted on training patients only. |

# 6. Models: 6 in total, and how they performed (Objective 1)

| Model | Idea in one line | MARD % | RMSE mg/dL | R² | Clarke A+B |
| --- | --- | --- | --- | --- | --- |
| Persistence | Glucose in 30 min = glucose now (baseline) | 12.11 | 24.82 | 0.814 | 98.6 % |
| Ridge | Weighted sum of features, weights kept small | 10.70 | 21.66 | 0.859 | 98.4 % |
| Random Forest | Average of 50 decision trees | 10.13 | 20.58 | 0.872 | 98.0 % |
| MLP | Small neural network (128, 64) | 10.03 | 20.53 | 0.873 | 98.2 % |
| LightGBM | 150 trees, each correcting the previous errors — deployed | 10.03 ± 1.52 | 20.33 ± 2.66 | 0.875 | 98.0 % |
| Stacking | Ridge + RF + LightGBM combined by Ridge | 10.03 | 20.42 | 0.874 | 98.1 % |

- Every learned model beats Persistence for all 12 patients; LightGBM by 2.08 MARD points (p = 0.0005).

- LightGBM, Stacking and MLP are tied (difference 0.004, p = 0.97). LightGBM was deployed for its tied MARD, best RMSE/R² and simple single-model deployment — not because it had the best MARD.

# 7. What the numbers mean (simple explanation)

We predict a number, so 'accuracy' (right/wrong) does not work — we measure how far off the forecast is. Example: real 100, predicted 110.

| Measure | Simple meaning | Our LightGBM value | What it tells us |
| --- | --- | --- | --- |
| MARD | Average error in % of the real value (10/100 = 10 %). Standard for CGM | 10.03 % | Forecasts are on average about 10 % off |
| MAE | Average error in mg/dL | 14.24 mg/dL | Typically about 14 mg/dL off |
| RMSE | Average error that punishes big mistakes more | 20.33 mg/dL | Large mistakes are limited |
| R² | How well we follow the ups and downs (1 = perfect) | 0.875 | Follows the glucose curve well — but Persistence already gets 0.814 |
| Clarke A+B | % of forecasts in medically safe error zones | 98.0 % | Errors are mostly harmless — but Persistence also gets 98.6 % |
| vs Persistence | Compare with 'glucose won't change' | 12.11 % → 10.03 % | The real proof the model learned something: better for 12/12 patients |

How good is the model? (say this) On patients it never saw, the forecast is on average about 10 % (14 mg/dL) off, clearly better than assuming glucose stays the same, for every one of the 12 patients. It is weakest at low glucose (below 70 mg/dL), so it is not meant for low-glucose alerts.

# 8. How each objective was achieved

## Objective 1 — subject-independent evaluation

| How | Leave-one-subject-out: 12 rounds, each trains all 6 models from scratch on 11 patients and tests on the unseen 12th. Preprocessing fitted on the 11 only. Metrics per patient, then mean ± SD. |
| --- | --- |
| Found | MARD 10.03 % (LightGBM) vs 12.11 % (Persistence), 12/12 patients improved; three models tied at the top. |
| Means | The model learned general glucose behaviour that works for new people, not memorised individuals. |

## Objective 2 — personalization

| How | Population model (other 11 patients) adapted with the first 5–50 % of the patient's own data by continued LightGBM training; always tested on the same last 50 % of that patient (no overlap). |
| --- | --- |
| Found | MARD 9.83 % (0 %) → 9.92 (5 %) → 9.77 (10 %) → 9.66 (20 %, p = 0.04) → 9.67 (30 %) → 9.63 (50 %, p = 0.01). Ridge: no significant gain. |
| Means | Own data helps a little but consistently (~0.2 points, ~2 %) once ~10 days are available; a few days do not help. |

## Objective 3 — external transfer evaluation (HUPA-UCM)

| How | OhioT1DM-trained models applied to HUPA-UCM without any retraining; same causal processing; only points with real readings at t and t+30 scored. |
| --- | --- |
| Found | LightGBM MARD 10.03 → 13.38 %; Persistence 13.03 % — LightGBM did not beat Persistence (10/19 patients, p = 0.95). Ridge transferred best (12.22 %), the only model significantly better than Persistence. Of the 3.35-point gap, 1.59 is due to 15-minute sampling, 1.81 remains (people/device). |
| Means | The pipeline transfers without retraining, but this does not prove clinical generalization; simpler models transfer better across sensors. |

# 9. Extra analyses and honest limitations

| Analysis | Result |
| --- | --- |
| Accuracy by range | Good in 70–180 and > 180 mg/dL; below 70: MARD 33.1 % vs 24.0 % for Persistence |
| Low-glucose alerts | LightGBM caught only 23 % of 419 low episodes (6 % with ≥ 15 min warning) → not for hypo alerts |
| Leakage audit (event bucketing) | Insulin/meal events can be up to 4:59 early on 2.3 % of rows; effect MARD 9.628 vs 9.631 (negligible); deployed system strictly causal |
| Heart rate | Wrong tag → 100 % missing → no contribution; future work |
| Reproducibility | Rerun reproduced Ridge exactly and LightGBM within 0.012 MARD; library versions recorded |
| Other limitations | Only 12 training patients; one CGM type; insulin feature is a simple proxy; settings not tuned; only the 30-min horizon |

# 10. What the website should showcase

| Tab | What the user sees | Status |
| --- | --- | --- |
| Home / About | Problem, core question, datasets, 6 models, 3 objectives, key numbers, disclaimer | Content ready (this document) |
| Objective 1: Forecast | Research: 6-model table, per-patient MARD chart, Clarke grid, actual-vs-predicted plot (outputs_causal/). Live: upload CGM data → graph of real vs predicted glucose over the whole file + the next +30 min forecast + error on that file | Forecasts ready (mode=all/latest); the real-glucose line for uploads needs a small backend addition |
| Objective 2: Personalization | Research: personalization curve, patient heatmap, Clarke P0 vs P50 (outputs_objective2/). Interactive: upload a file → choose 0–50 % own data → see MARD improve and the forecast lines change | Needs a new backend endpoint (same recipe as the research); use HUPA-UCM or synthetic files, not OhioT1DM (already learned) |
| Objective 3: External | Research: OhioT1DM vs HUPA-UCM chart, per-patient MARD, gap-decomposition chart (outputs_objective3/). Live: upload a Libre/HUPA-UCM file → 15-minute warning + forecasts | Ready |
| Analyses & Limitations | Glucose-range table, low-glucose result, leakage audit, heart-rate finding, limitations | Content ready |

- Upload button: "Upload CGM Data" (OhioT1DM XML, FreeStyle Libre / HUPA-UCM export, or CSV template) — not "medical record".

- Graph rule: the model gives one forecast 30 minutes ahead at each time; over a whole file these form a full predicted line. Do not draw invented values between now and +30 min (only a dashed connector).

- Public site: use summary plots and the synthetic demo file; keep single real-patient curves for the report only (dataset licences).

- Do not use plots from outputs/ or outputs_pre_causal/ (old leaking pipeline).

# 11. One-paragraph summary to say

We forecast Type 1 diabetes glucose 30 minutes ahead from past CGM, insulin and meals, using a strictly causal pipeline with 47 backward-looking features and 6 models. Tested on patients the model never saw (leave-one-subject-out), LightGBM is on average about 10 % off (MARD 10.03 %, RMSE 20.33 mg/dL), better than the no-change baseline for all 12 patients. Using a patient's own data gives a small, consistent gain after about 10 days. On a completely different dataset (HUPA-UCM, Spain, 15-minute Libre data) accuracy drops to 13.4 %, about half of it explained by the sampling rate, and the simple Ridge model transfers best. Our contribution is honest, leak-free, subject-independent and cross-dataset evaluation, plus a reproducible deployed system — not clinical readiness.