30-Minute Blood Glucose Forecasting for Type 1 Diabetes

Compact project summary — what we did, how, why, and what we found

In one line: we predict a diabetic patient's CGM glucose 30 minutes ahead from past glucose, insulin and meals; we test it on patients the model has never seen, test whether a patient's own data helps, test it on a completely different dataset, and serve it through a backend that gives exactly the research predictions. Disclaimer: research demonstration only — not a medical device, not for diagnosis or insulin dosing, does not replace a CGM.

# 1. The problem and why it matters

| What | Forecast glucose 30 minutes ahead for people with Type 1 diabetes (their body makes no insulin; they must keep glucose roughly in 70–180 mg/dL). |
| --- | --- |
| Why needed | A CGM sensor only shows glucose now. A forecast gives the patient time to react before glucose goes too high or low. 30 minutes is the standard horizon of the OhioT1DM benchmark: far enough to act, close enough to predict. |
| Inputs | Only information available at the moment of prediction: past CGM glucose, insulin boluses (lower glucose) and carbohydrates (raise glucose). |
| Key rule | Causal — nothing from the future may be used. Otherwise the model looks good in research but would fail in real life. |

# 2. Data — what we used and what we excluded

|  | OhioT1DM (train + Objectives 1–2) | HUPA-UCM (Objective 3, test only) |
| --- | --- | --- |
| Patients | 12 (2018 and 2020 cohorts), about 8 weeks each, training + testing files | 25 in dataset → 19 MAIN / 23 ALL used |
| Sensor | CGM every 5 minutes | FreeStyle Libre, a reading every ~15 minutes |
| Used | glucose_level, bolus, meal (carbs) | Raw Libre glucose; bolus and carbs from the 'Preprocessed' file |
| Not used / excluded | Basal, exercise, sleep, stress, finger-sticks etc. (outside the CGM + insulin + meals design). Heart rate intended but not effectively used (§8) | Preprocessed glucose (it is interpolated — 17.8 % of values need a LATER reading = future leak). HUPA0009P, 0010P: no raw CGM → excluded. HUPA0011P, 0015P, 0018P, 0020P: missing insulin/meal records → excluded from MAIN only |
| Cleaning | Glucose clipped to 40–400 mg/dL | Same clipping; carbs given in servings × 10 = grams; bolus ≤ 0 = invalid, treated as no event; only data inside each patient's study window |
| Why | Public benchmark dataset with insulin and meals | A different sensor and population: tests whether the model transfers. Rules fixed before looking at results to avoid bias |

# 3. Data processing — from raw events to model rows

| What | Raw files are irregular event lists. The model needs one row every 5 minutes. |
| --- | --- |
| How | (1) 5-minute time grid. (2) Glucose at time t = latest reading at most 5 min old. (3) Short gaps filled by forward fill (last known value) for up to 30 min; longer gaps left empty. (4) Insulin and carbs summed per 5-min slot. (5) Build 47 features. (6) Target = glucose 6 steps (30 min) later. |
| Why | Forward fill uses only the past; interpolation uses the next reading (future). An earlier version used two-way interpolation and back-filled heart rate — that leaked the future, so we replaced it. The old results looked slightly better but were invalid and are not cited. |
| Checked | Some targets are forward-filled values; scoring only rows with real readings at t and t+30 changes MARD 10.02 → 9.97 %, so this does not inflate results. |

# 4. The 47 features (inputs to the model)

| Group | Count | What it is | Why |
| --- | --- | --- | --- |
| Current values | 4 | glucose, bolus, carbs, heart_rate | Present state (heart_rate is always empty — §8) |
| Insulin activity (iob) | 1 | Decaying sum of past boluses (4 h window) | Insulin given earlier is still acting (a proxy, not a medical IOB curve) |
| Trend | 2 | Change since last step and its change | Is glucose rising/falling, speeding up? |
| Last 30 min | 2 | Rolling mean and standard deviation | Local level and stability |
| Time of day | 2 | hour sin / cos | Daily patterns (meals, dawn effect) |
| History (lags) | 36 | Glucose, trend and iob 5…60 min ago (12 each) | Gives the model memory of the last hour |

All features look only backwards. Before the model: missing values → mean of the training patients; then standard scaling fitted on training patients only (never on test data).

# 5. The models — 6 in total

| Model | What it does | Why we included it |
| --- | --- | --- |
| 1. Persistence | Says glucose in 30 min = glucose now | Baseline: a real model must beat it |
| 2. Ridge | Linear regression with a penalty | Simple, interpretable benchmark |
| 3. Random Forest | Average of 50 decision trees | Non-linear, robust |
| 4. MLP | Small neural network (128, 64 neurons) | Neural-network comparison |
| 5. LightGBM | Gradient boosting: 150 trees built one after another, each fixing the previous errors | Strong and fast for tabular data → deployed model |
| 6. Stacking | Ridge + RF + LightGBM combined by a Ridge on top | Does combining models help? |

Same 47 features and fixed settings for all (random seed 42). XGBoost was only in early plans — never implemented or evaluated; no XGBoost result exists.

# 6. Objective 1 — does it work on a new patient? (LOSO)

| How | Leave-one-subject-out: 12 rounds; each trains on 11 patients and tests on the 12th, which the model has never seen. Metrics per patient, then mean ± SD over 12 patients. |
| --- | --- |
| Why | A random split would put near-identical neighbouring rows (5 min apart) in both train and test and let the model memorise each patient → falsely high accuracy. A real product meets new users. |

| Model | MARD % ↓ | RMSE mg/dL ↓ | R² ↑ | Clarke A+B % |
| --- | --- | --- | --- | --- |
| Stacking | 10.03 ± 1.54 | 20.42 | 0.874 | 98.1 |
| MLP | 10.03 ± 1.45 | 20.53 | 0.873 | 98.2 |
| LightGBM | 10.03 ± 1.52 | 20.33 ± 2.66 | 0.875 | 98.0 |
| Random Forest | 10.13 | 20.58 | 0.872 | 98.0 |
| Ridge | 10.70 | 21.66 | 0.859 | 98.4 |
| Persistence | 12.11 ± 1.92 | 24.82 | 0.814 | 98.6 |

- Found: every model beats Persistence for all 12 patients; LightGBM improves MARD by 2.08 points (p = 0.0005).

- LightGBM, Stacking and MLP are tied on MARD (difference 0.004, p = 0.97). LightGBM chosen because it is tied on MARD, best on RMSE/R², and a single simple model to deploy — not because it had the best MARD.

- Persistence has the highest Clarke A+B and already R² 0.81 → those two metrics alone don't prove a model is better; MARD and RMSE do.

# 7. Objective 2 — does the patient's own data help? (Personalization)

| How | Start from the population model (other 11 patients). Add the first P % of the patient's own data (P = 5, 10, 20, 30, 50 % ≈ 2.4 to 24 days) by continuing LightGBM training. Always test on the same last 50 % of that patient (checked: no overlap). |
| --- | --- |
| Why | Real users build up history over time; this tests whether a model can adapt to an individual. |
| Found | LightGBM MARD 9.83 % (no own data) → 9.66 % (20 %, p = 0.04) → 9.63 % (50 %, p = 0.01). 5–10 % gave no gain. Small but consistent improvement (~0.2 points, ~2 %) after ~10 days of data. Ridge: no significant gain. |
| Caveat | The adaptation recipe differs for P ≤ 10 % and P ≥ 20 %; do not claim a large gain. |

# 8. Objective 3 — does it work on a different dataset? (HUPA-UCM)

| How | OhioT1DM-trained models applied to HUPA-UCM without any retraining. Same causal processing; only points with a real reading at t and t+30 are scored. |
| --- | --- |
| Why | Testing on the training dataset alone can hide dataset-specific behaviour; a new sensor and population show what really transfers. |

| Model | Ohio MARD % | HUPA MARD % (19 pts) | Beats Persistence on HUPA? |
| --- | --- | --- | --- |
| Persistence | 12.11 | 13.03 | — |
| Ridge | 10.70 | 12.22 (best) | Yes (13/19, p = 0.036) |
| Stacking | 10.03 | 12.83 | Not significant |
| LightGBM | 10.03 | 13.38 | No (10/19, p = 0.95) |
| Random Forest | 10.13 | 13.24 | No |
| MLP | 10.03 | 14.21 | Worse than Persistence |

- Found: accuracy drops ~3 points; LightGBM does not beat Persistence on HUPA; the simple Ridge transfers best.

- Why the drop (measured): of the 3.35-point gap, 1.59 comes from 15-minute sampling (we simulated it on OhioT1DM), ~0 from the scoring rule, 1.81 remains (different people/device).

- Meaning: the pipeline transfers without retraining, but this does not prove clinical generalization or superiority on a new population.

# 9. Extra checks we did (and why)

| Check | Why we did it | What we found |
| --- | --- | --- |
| Accuracy by glucose range | Average MARD can hide danger zones | Good in 70–180 and >180; poor below 70 mg/dL: 33.1 % vs 24.0 % for Persistence |
| Low-glucose alert test | Could it warn of hypos? | LightGBM caught only 23 % of 419 low episodes (6 % with 15-min warning) → not suitable for alerts |
| Event-bucketing audit | Look for any hidden future information | Insulin/meal events rounded down to the 5-min slot can be up to 4:59 'early' on 2.3 % of rows; effect MARD 9.628 vs 9.631 = negligible. Disclosed; backend is strictly causal |
| Heart-rate check | Was HR really used? | Parser looked for the wrong tag (heart_rate vs basis_heart_rate) → HR 100 % missing, contributed nothing. Disclosed as limitation |
| Reproducibility | Can results be rebuilt? | Retraining reproduced Ridge exactly and LightGBM within 0.012 MARD; versions recorded |

# 10. Deployment — the backend

| What | A FastAPI service with 7 endpoints: health, model info, synthetic demo patients, demo forecast, and upload forecast (OhioT1DM XML, FreeStyle Libre/HUPA-UCM export, or a simple CSV: timestamp, glucose, bolus, carbs). |
| --- | --- |
| How | It reuses the unchanged research code and saved files (LightGBM + imputer + scaler + feature list), removes every event after the prediction time, and returns one forecast for t + 30 min. Not recursive. |
| Why | To avoid 'training-serving skew' (app giving different answers than the research). Verified: bit-identical to the research pipeline on 828 predictions. |
| Safety | File hashes checked before loading, input validation, no data stored or logged, rate limits, size limits, 256 automated tests pass (including causality tests). Does not read PDFs/images/medical records. |

# 11. Limitations (say these yourself) and future work

| Limitation | Future work |
| --- | --- |
| Only 12 training patients, one CGM type | Larger, more diverse datasets |
| Weak below 70 mg/dL; no hypo alerts | Low-range weighting or a dedicated model |
| No gain over Persistence on HUPA (15-min data) | Train with 15-minute data for Libre users |
| Heart rate not used (tag mapping) | Map basis_heart_rate and test it |
| iob is a simple proxy; settings not tuned | Physiological insulin model; nested tuning |
| Small event-bucketing look-ahead in research (2.3 %) | Fix at source and rerun |

# 12. Key numbers to remember

| Horizon / grid | 30 min / 5 min | Models / features | 6 / 47 |
| --- | --- | --- | --- |
| LightGBM (Ohio, LOSO) | MARD 10.03 %, RMSE 20.33, R² 0.875, A+B 98.0 % | vs Persistence | −2.08 MARD, 12/12 patients |
| Personalization | −0.2 MARD after ~10 days | HUPA LightGBM | 13.38 % (Persistence 13.03 %) |
| Below 70 mg/dL | 33.1 % vs 24.0 % | Tests / deployed version | 256 passed / cd7e2d54f5b4 |

Strongest contribution: subject-independent evaluation + causal design + external transfer test + personalization analysis + reproducible deployment — not clinical readiness or state-of-the-art accuracy.